GreatPower CR123A Lithium Battery 1300mAh 3V

Battery Type

Lithium (non-rechargeable)

Product Information

Model: CR123A Lithium Battery

Nominal Voltage: 3V

Capacity: 1300mAh

Chemical System: Lithium Manganese Dioxide (Li-MnO₂)

| Ingredient | Percent | CAS Index No./EC No. | Molar mass | Molecular formula | Symbol |
| --- | --- | --- | --- | --- | --- |
| Manganese Dioxide | 60.3% | 1313-13-9 |  | MnO2 |  |
| Lithium | 2.6% | 7439-93-2 |  | Li |  |
| Propylene carbonate | 10.3% | 108-32-7 |  | PC |  |
| ethylene glycol dimethyl ether | 0.2% | 110-71-4 |  | EGDME |  |
| Lithium Perchlorate | 10.6% | 7791-03-9 |  | LiClO4 |  |
| Graphite | 3.25% | 7782-42-5 |  | C |  |
| Polypropylene | 4.0% | 9003-07-0 |  | PP |  |
| Nickel | 1.9% | 7440-02-0 |  | Ni |  |
| Aluminum | 6.85% | 7429-90-5 |  | Al |  |

Replaceability

These batteries are replaceable and are not permanently built into devices. They are designed to be removed and replaced by the user. However, some devices (e.g. toys or medical devices) may require a screwdriver or a similar tool for access.

Performance Durability

The storage life of CR123A  lithium batteries is 10 years, the warranty period is 1 year.

Recyclability Information

Lithium batteries must not be disposed of with household waste.

They must be delivered to authorized recycling centers or collection points, especially because they may pose fire risk.

Please check with your local recycling center for proper disposal guidance.

Best before

This is printed on the product and/or product packaging. Please refer to the label for the best before date.

Safety Warnings

EN Do not recharge or put in fire.

DE Nicht versuchen aufzuladen oder ins Feuer zu legen.

FR Ne tentez pas de recharger ou d'exposer au feu.

IT Non tentare di ricaricare o di esporre al fuoco.

ES Nointente recargar ni exponer al fuego.

NL Probeerniet op te laden of bloot te stellen aan vuur.

PT Naorecarregue nem coloque no fogo.

JP 充電したり、火の中に投げ込んだりしないでください。

BE Niet opladen of in het vuur gooien.

SV Nie ładować ani wrzucać do ognia.

PL Nie tadowac ani wrzucac do ognia.

Extinguishing Media: CO2 or dry chemicals

Flammable Limits: Not available

Intended Use

Non-rechargeable lithium batteries (CR123A) are designed for use in high-performance and long-lasting applications, such as:

• Cameras and camera flashes (e.g., compact digital cameras, rangefinders)

• Laser pointers

• Smoke detectors

• Remote sensors

• Medical devices (non-critical)

• Security systems

• Calculators

• Handheld instruments

• Flashlights and outdoor equipment

They are not intended for recharging. Attempting to recharge these batteries can be dangerous.

Manufacturer Information

Brand: GreatPower

Manufacturer: Guangzhou Great Power Energy & Techology Co.,Ltd

Address: No. 912 Shiliang Road, Shawan town, Panyu, Guangzhou, China

Service Email: